## Slide 1
Michael Mann
Electrical Engineer, USDA FS
December 13, 2022
NIROPS Closeout, NIFC, Boise
Phoenix System
Maintenance & Development

## Slide 2: Phoenix Operators
Kelli Gammons
Jill Kuenzi
Brian Teats
Rob Navarro
Ed Guzman
Mark Rhodes
Josh Bayok
Bart Littlefield
Thank You!

## Slide 3: Season Overview
  Complete Phoenix NexGen System
  Successful integration of Phoenix NexGen and AMS Systems into new airplanes
  Started Construction Optical Calibration Lab

## Slide 5
Phoenix NexGen
  Extended operational life
  Improved system versatility and usage
    Miniaturized and modern digital electronics
    Repeatable/streamlined calibration
    Standardized across aircrafts
  Improved System Performance
    Enhanced orthorectification
    Improved image collection/resolution
  Expected fire season 2023

## Slide 6
New Motor and Controller
Ekinox INS/GNSS
Single Board Computer
Cryocoolers
Inmarsat Satellite Communications
Phoenix NexGen
New ADC/DSP
64-bit Operating system
New Pre-Amp and Signal conditioning
New Mirrors
New Application Software

## Slide 7
  Replace liquid LN2 cooling system.
  Reduce height of scanner
  Reduced RFI/EMI by 75%
  Integrated Cold Shield
Cryocooler
Cryocooler assembly. Compressor (right), Dewar and detectors (middle) and controller (left).

## Slide 8
Decker Fire 2019 color image
Decker Fire 2019 Ortho image
False trips off ghosting stray light path
Ghosting artifacts shown in raw color image
Cryocooler - Cool Shield

## Slide 9
  Inmarsat’s quad channel network
  Speeds of up to 2000 Kbps
    (Previous speeds were 30 Kbps)
  Necessary precursor to remote operation and automation.
Satellite Communications

## Slide 10: Enhanced Orthorectification
  Triggerable steady timing sync pulse
    Stable scanline width with no horizontal line zig zag
  Independently shrink or stretch scan lines left and right off nadir
Orthorectified image with noticeable zigzag

## Slide 11: Enhanced Orthorectification
3D Model showing the optical path of the left and right of a scan line
Orthorectified Image demonstrating an independently stretchable scanline

## Slide 12: Optical Calibration Lab
Optical Calibration Lab, NASA AMS, Mountain View, CA
Optical Calibration Lab, NIFC Boise, ID

## Slide 13: The End Thank You